## Calibration Curve
Linear Regression and Calibration Curves
[7 empty] | Graph Title: | Descriptive Title
[7 empty] | Confidence Level: | 95%
| Calibration Curve Data | [7 empty] | Unknown Data (replicates)
| x-axis /units | yavg | uncertainty in x (point on line) | uncertainty in y (point on line) | ymin | ymin | y-axis /units |  | y-axis /units | x-axis /units |  | uncertainty in x
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | yavg
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #DIV/0!
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! | [5 empty] | uncertainty in y
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | uncertaintyy
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  |  | #VALUE!
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  |  | value | Std. Dev. | uncertainty
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | Slope: |  | #DIV/0!
|  | 0 | #VALUE! | #VALUE! | #VALUE! | #VALUE! |  |  | Intercept: |  | #DIV/0!
[9 empty] | Count: | 0 | ——— | ———
[9 empty] | Std. Dev.r: | ——— | 0 | ———
[9 empty] | Std. Dev.x: | ——— | #DIV/0! | ———
Plotting Parameters
| #VALUE! | [5 empty] | #VALUE! |  |  | #DIV/0!
| #VALUE! | [5 empty] | #VALUE! |  |  | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!
| #VALUE! | [5 empty] | #VALUE!

## Rapid Calc.
Rapid Statistical Analysis
This sheet computes the two-tailed F-test and t-test for two data sets. The t-test accounts for whether the data passes or fails the F-test.
| Confidence Level |  | 95%
Data Set | Data |  |  | F-test (two-tailed) |  |  | t-test (two-tailed)
| Average | std. dev. | n | Fcalc | Ftab | pass/fail? | tcalc | ttab | pass/fail?
a
b
spooled
D.F.

## F-Test Table
Tabulated Values for One and Two-Tailed F-Tests
The Excel function FINV returns the one-tailed F-test. The two-tailed F-test is the same as the one-tailed F-test at ½ the significance level.
Critical Value Calculator
|  | Confidence Level |  |  |  |  | 95%
D.F. (numerator)
D.F. (denominator)
one-tailed F-Test
two-tailed F-Test
|  | Confidence Interval for the tables below: |  |  |  |  | 95%
Table 1. Tabulated values for the one-tailed F-test.
95% |  | Degrees of Freedom: Numerator
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 14 | 16 | 18 | 20 | 25 | 30 | 40 | 50 | 75 | 100 | 200 | 500 | ¥
Degrees of Freedom: Denominator | 1 | 161.4476 | 199.5 | 215.7073 | 224.5832 | 230.1619 | 233.986 | 236.7684 | 238.8827 | 240.5433 | 241.8817 | 243.906 | 245.364 | 246.4639 | 247.3232 | 248.0131 | 249.2601 | 250.0951 | 251.1432 | 251.7742 | 252.618 | 253.0411 | 253.677 | 254.0593 | 254.3132
| 2 | 18.5128 | 19 | 19.1643 | 19.2468 | 19.2964 | 19.3295 | 19.3532 | 19.371 | 19.3848 | 19.3959 | 19.4125 | 19.4244 | 19.4333 | 19.4402 | 19.4458 | 19.4558 | 19.4624 | 19.4707 | 19.4757 | 19.4824 | 19.4857 | 19.4907 | 19.4937 | 19.4957
| 3 | 10.128 | 9.5521 | 9.2766 | 9.1172 | 9.0135 | 8.9406 | 8.8867 | 8.8452 | 8.8123 | 8.7855 | 8.7446 | 8.7149 | 8.6923 | 8.6745 | 8.6602 | 8.6341 | 8.6166 | 8.5944 | 8.581 | 8.563 | 8.5539 | 8.5402 | 8.532 | 8.5265
| 4 | 7.7086 | 6.9443 | 6.5914 | 6.3882 | 6.2561 | 6.1631 | 6.0942 | 6.041 | 5.9988 | 5.9644 | 5.9117 | 5.8733 | 5.8441 | 5.8211 | 5.8025 | 5.7687 | 5.7459 | 5.717 | 5.6995 | 5.6759 | 5.6641 | 5.6461 | 5.6353 | 5.6281
| 5 | 6.6079 | 5.7861 | 5.4095 | 5.1922 | 5.0503 | 4.9503 | 4.8759 | 4.8183 | 4.7725 | 4.7351 | 4.6777 | 4.6358 | 4.6038 | 4.5785 | 4.5581 | 4.5209 | 4.4957 | 4.4638 | 4.4444 | 4.4183 | 4.4051 | 4.3851 | 4.3731 | 4.365
| 6 | 5.9874 | 5.1433 | 4.7571 | 4.5337 | 4.3874 | 4.2839 | 4.2067 | 4.1468 | 4.099 | 4.06 | 3.9999 | 3.9559 | 3.9223 | 3.8957 | 3.8742 | 3.8348 | 3.8082 | 3.7743 | 3.7537 | 3.7258 | 3.7117 | 3.6904 | 3.6775 | 3.6689
| 7 | 5.5914 | 4.7374 | 4.3468 | 4.1203 | 3.9715 | 3.866 | 3.787 | 3.7257 | 3.6767 | 3.6365 | 3.5747 | 3.5292 | 3.4944 | 3.4669 | 3.4445 | 3.4036 | 3.3758 | 3.3404 | 3.3189 | 3.2897 | 3.2749 | 3.2525 | 3.2389 | 3.2298
| 8 | 5.3177 | 4.459 | 4.0662 | 3.8379 | 3.6875 | 3.5806 | 3.5005 | 3.4381 | 3.3881 | 3.3472 | 3.2839 | 3.2374 | 3.2016 | 3.1733 | 3.1503 | 3.1081 | 3.0794 | 3.0428 | 3.0204 | 2.9901 | 2.9747 | 2.9513 | 2.9371 | 2.9276
| 9 | 5.1174 | 4.2565 | 3.8625 | 3.6331 | 3.4817 | 3.3738 | 3.2927 | 3.2296 | 3.1789 | 3.1373 | 3.0729 | 3.0255 | 2.989 | 2.96 | 2.9365 | 2.8932 | 2.8637 | 2.8259 | 2.8028 | 2.7715 | 2.7556 | 2.7313 | 2.7166 | 2.7067
| 10 | 4.9646 | 4.1028 | 3.7083 | 3.478 | 3.3258 | 3.2172 | 3.1355 | 3.0717 | 3.0204 | 2.9782 | 2.913 | 2.8647 | 2.8276 | 2.798 | 2.774 | 2.7298 | 2.6996 | 2.6609 | 2.6371 | 2.6048 | 2.5884 | 2.5634 | 2.5481 | 2.5379
| 12 | 4.7472 | 3.8853 | 3.4903 | 3.2592 | 3.1059 | 2.9961 | 2.9134 | 2.8486 | 2.7964 | 2.7534 | 2.6866 | 2.6371 | 2.5989 | 2.5684 | 2.5436 | 2.4977 | 2.4663 | 2.4259 | 2.401 | 2.3671 | 2.3498 | 2.3233 | 2.3071 | 2.2963
| 14 | 4.6001 | 3.7389 | 3.3439 | 3.1122 | 2.9582 | 2.8477 | 2.7642 | 2.6987 | 2.6458 | 2.6022 | 2.5342 | 2.4837 | 2.4446 | 2.4134 | 2.3879 | 2.3407 | 2.3082 | 2.2664 | 2.2405 | 2.2051 | 2.187 | 2.1592 | 2.1422 | 2.1308
| 16 | 4.494 | 3.6337 | 3.2389 | 3.0069 | 2.8524 | 2.7413 | 2.6572 | 2.5911 | 2.5377 | 2.4935 | 2.4247 | 2.3733 | 2.3335 | 2.3016 | 2.2756 | 2.2272 | 2.1938 | 2.1507 | 2.124 | 2.0873 | 2.0685 | 2.0395 | 2.0217 | 2.0097
| 18 | 4.4139 | 3.5546 | 3.1599 | 2.9277 | 2.7729 | 2.6613 | 2.5767 | 2.5102 | 2.4563 | 2.4117 | 2.3421 | 2.29 | 2.2496 | 2.2172 | 2.1906 | 2.1413 | 2.1071 | 2.0629 | 2.0354 | 1.9975 | 1.978 | 1.9479 | 1.9294 | 1.9169
| 20 | 4.3512 | 3.4928 | 3.0984 | 2.8661 | 2.7109 | 2.599 | 2.514 | 2.4471 | 2.3928 | 2.3479 | 2.2776 | 2.225 | 2.184 | 2.1511 | 2.1242 | 2.0739 | 2.0391 | 1.9938 | 1.9656 | 1.9267 | 1.9066 | 1.8755 | 1.8562 | 1.8432
| 25 | 4.2417 | 3.3852 | 2.9912 | 2.7587 | 2.603 | 2.4904 | 2.4047 | 2.3371 | 2.2821 | 2.2365 | 2.1649 | 2.1111 | 2.0691 | 2.0353 | 2.0075 | 1.9554 | 1.9192 | 1.8718 | 1.8421 | 1.8008 | 1.7794 | 1.746 | 1.7252 | 1.7111
| 30 | 4.1709 | 3.3158 | 2.9223 | 2.6896 | 2.5336 | 2.4205 | 2.3343 | 2.2662 | 2.2107 | 2.1646 | 2.0921 | 2.0374 | 1.9946 | 1.9601 | 1.9317 | 1.8782 | 1.8409 | 1.7918 | 1.7609 | 1.7176 | 1.695 | 1.6597 | 1.6375 | 1.6223
| 40 | 4.0847 | 3.2317 | 2.8387 | 2.606 | 2.4495 | 2.3359 | 2.249 | 2.1802 | 2.124 | 2.0772 | 2.0035 | 1.9476 | 1.9037 | 1.8682 | 1.8389 | 1.7835 | 1.7444 | 1.6928 | 1.66 | 1.6137 | 1.5892 | 1.5505 | 1.526 | 1.509
| 50 | 4.0343 | 3.1826 | 2.79 | 2.5572 | 2.4004 | 2.2864 | 2.1992 | 2.1299 | 2.0734 | 2.0261 | 1.9515 | 1.8949 | 1.8503 | 1.8141 | 1.7841 | 1.7273 | 1.6872 | 1.6337 | 1.5995 | 1.5508 | 1.5249 | 1.4835 | 1.4569 | 1.4384
| 75 | 3.9685 | 3.1186 | 2.7266 | 2.4937 | 2.3366 | 2.2221 | 2.1343 | 2.0644 | 2.0073 | 1.9594 | 1.8836 | 1.8259 | 1.7802 | 1.743 | 1.7121 | 1.6532 | 1.6112 | 1.5548 | 1.5183 | 1.4656 | 1.4371 | 1.3906 | 1.36 | 1.3381
| 100 | 3.9361 | 3.0873 | 2.6955 | 2.4626 | 2.3053 | 2.1906 | 2.1025 | 2.0323 | 1.9748 | 1.9267 | 1.8503 | 1.7919 | 1.7456 | 1.7079 | 1.6764 | 1.6163 | 1.5733 | 1.5151 | 1.4772 | 1.422 | 1.3917 | 1.3416 | 1.3079 | 1.2833
| 200 | 3.8884 | 3.0411 | 2.6498 | 2.4168 | 2.2592 | 2.1441 | 2.0556 | 1.9849 | 1.9269 | 1.8783 | 1.8008 | 1.7415 | 1.6943 | 1.6556 | 1.6233 | 1.5612 | 1.5164 | 1.4551 | 1.4146 | 1.3545 | 1.3206 | 1.2626 | 1.2211 | 1.1887
| 500 | 3.8601 | 3.0138 | 2.6227 | 2.3898 | 2.232 | 2.1167 | 2.0279 | 1.9569 | 1.8986 | 1.8496 | 1.7715 | 1.7116 | 1.6638 | 1.6245 | 1.5916 | 1.5282 | 1.4821 | 1.4186 | 1.3762 | 1.3122 | 1.2753 | 1.2096 | 1.1587 | 1.1135
| ¥ | 3.8416 | 2.9958 | 2.605 | 2.372 | 2.2142 | 2.0987 | 2.0097 | 1.9385 | 1.88 | 1.8308 | 1.7523 | 1.6919 | 1.6436 | 1.604 | 1.5706 | 1.5062 | 1.4592 | 1.3941 | 1.3502 | 1.283 | 1.2436 | 1.1702 | 1.1066 | 1
Table 2. Tabulated values for the two-tailed F-test.
95% |  | Degrees of Freedom: Numerator
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 12 | 14 | 16 | 18 | 20 | 25 | 30 | 40 | 50 | 75 | 100 | 200 | 500 | ¥
Degrees of Freedom: Denominator | 1 | 647.789 | 799.5 | 864.163 | 899.5833 | 921.8479 | 937.1111 | 948.2169 | 956.6562 | 963.2846 | 968.6274 | 976.7079 | 982.5278 | 986.9187 | 990.349 | 993.1028 | 998.0808 | 1001.4144 | 1005.5981 | 1008.1171 | 1011.486 | 1013.1748 | 1015.7133 | 1017.2395 | 1018.2532
| 2 | 38.5063 | 39 | 39.1655 | 39.2484 | 39.2982 | 39.3315 | 39.3552 | 39.373 | 39.3869 | 39.398 | 39.4146 | 39.4265 | 39.4354 | 39.4424 | 39.4479 | 39.4579 | 39.4646 | 39.4729 | 39.4779 | 39.4846 | 39.4879 | 39.4929 | 39.4959 | 39.4979
| 3 | 17.4434 | 16.0441 | 15.4392 | 15.101 | 14.8848 | 14.7347 | 14.6244 | 14.5399 | 14.4731 | 14.4189 | 14.3366 | 14.2768 | 14.2315 | 14.196 | 14.1674 | 14.1155 | 14.0805 | 14.0365 | 14.0099 | 13.9742 | 13.9563 | 13.9292 | 13.913 | 13.9021
| 4 | 12.2179 | 10.6491 | 9.9792 | 9.6045 | 9.3645 | 9.1973 | 9.0741 | 8.9796 | 8.9047 | 8.8439 | 8.7512 | 8.6838 | 8.6326 | 8.5924 | 8.5599 | 8.501 | 8.4613 | 8.4111 | 8.3808 | 8.34 | 8.3195 | 8.2885 | 8.2698 | 8.2574
| 5 | 10.007 | 8.4336 | 7.7636 | 7.3879 | 7.1464 | 6.9777 | 6.8531 | 6.7572 | 6.6811 | 6.6192 | 6.5245 | 6.4556 | 6.4032 | 6.3619 | 6.3286 | 6.2679 | 6.2269 | 6.175 | 6.1436 | 6.1013 | 6.08 | 6.0478 | 6.0283 | 6.0154
| 6 | 8.8131 | 7.2599 | 6.5988 | 6.2272 | 5.9876 | 5.8198 | 5.6955 | 5.5996 | 5.5234 | 5.4613 | 5.3662 | 5.2968 | 5.2439 | 5.2021 | 5.1684 | 5.1069 | 5.0652 | 5.0125 | 4.9804 | 4.9372 | 4.9154 | 4.8824 | 4.8625 | 4.8492
| 7 | 8.0727 | 6.5415 | 5.8898 | 5.5226 | 5.2852 | 5.1186 | 4.9949 | 4.8993 | 4.8232 | 4.7611 | 4.6658 | 4.5961 | 4.5428 | 4.5008 | 4.4667 | 4.4045 | 4.3624 | 4.3089 | 4.2763 | 4.2323 | 4.2101 | 4.1764 | 4.156 | 4.1424
| 8 | 7.5709 | 6.0595 | 5.416 | 5.0526 | 4.8173 | 4.6517 | 4.5286 | 4.4333 | 4.3572 | 4.2951 | 4.1997 | 4.1297 | 4.0761 | 4.0338 | 3.9995 | 3.9367 | 3.894 | 3.8398 | 3.8067 | 3.762 | 3.7393 | 3.705 | 3.6842 | 3.6702
| 9 | 7.2093 | 5.7147 | 5.0781 | 4.7181 | 4.4844 | 4.3197 | 4.197 | 4.102 | 4.026 | 3.9639 | 3.8682 | 3.798 | 3.7441 | 3.7015 | 3.6669 | 3.6035 | 3.5604 | 3.5055 | 3.4719 | 3.4265 | 3.4034 | 3.3684 | 3.3471 | 3.3329
| 10 | 6.9367 | 5.4564 | 4.8256 | 4.4683 | 4.2361 | 4.0721 | 3.9498 | 3.8549 | 3.779 | 3.7168 | 3.6209 | 3.5504 | 3.4963 | 3.4534 | 3.4185 | 3.3546 | 3.311 | 3.2554 | 3.2214 | 3.1752 | 3.1517 | 3.1161 | 3.0944 | 3.0799
| 12 | 6.5538 | 5.0959 | 4.4742 | 4.1212 | 3.8911 | 3.7283 | 3.6065 | 3.5118 | 3.4358 | 3.3736 | 3.2773 | 3.2062 | 3.1515 | 3.1081 | 3.0728 | 3.0077 | 2.9633 | 2.9063 | 2.8714 | 2.8238 | 2.7996 | 2.7626 | 2.7401 | 2.725
| 14 | 6.2979 | 4.8567 | 4.2417 | 3.8919 | 3.6634 | 3.5014 | 3.3799 | 3.2853 | 3.2093 | 3.1469 | 3.0502 | 2.9786 | 2.9234 | 2.8795 | 2.8437 | 2.7777 | 2.7324 | 2.6742 | 2.6384 | 2.5895 | 2.5646 | 2.5264 | 2.503 | 2.4873
| 16 | 6.1151 | 4.6867 | 4.0768 | 3.7294 | 3.5021 | 3.3406 | 3.2194 | 3.1248 | 3.0488 | 2.9862 | 2.889 | 2.817 | 2.7614 | 2.717 | 2.6808 | 2.6138 | 2.5678 | 2.5085 | 2.4719 | 2.4218 | 2.3961 | 2.3567 | 2.3326 | 2.3163
| 18 | 5.9781 | 4.5597 | 3.9539 | 3.6083 | 3.382 | 3.2209 | 3.0999 | 3.0053 | 2.9291 | 2.8664 | 2.7689 | 2.6964 | 2.6404 | 2.5956 | 2.559 | 2.4912 | 2.4445 | 2.3842 | 2.3468 | 2.2956 | 2.2692 | 2.2287 | 2.2038 | 2.187
| 20 | 5.8715 | 4.4613 | 3.8587 | 3.5147 | 3.2891 | 3.1283 | 3.0074 | 2.9128 | 2.8365 | 2.7737 | 2.6758 | 2.603 | 2.5465 | 2.5014 | 2.4645 | 2.3959 | 2.3486 | 2.2873 | 2.2493 | 2.1969 | 2.1699 | 2.1284 | 2.1027 | 2.0854
| 25 | 5.6864 | 4.2909 | 3.6943 | 3.353 | 3.1287 | 2.9685 | 2.8478 | 2.7531 | 2.6766 | 2.6135 | 2.5149 | 2.4413 | 2.384 | 2.3381 | 2.3005 | 2.2303 | 2.1816 | 2.1183 | 2.0787 | 2.0239 | 1.9955 | 1.9515 | 1.9242 | 1.9056
| 30 | 5.5675 | 4.1821 | 3.5894 | 3.2499 | 3.0265 | 2.8667 | 2.746 | 2.6513 | 2.5746 | 2.5112 | 2.412 | 2.3378 | 2.2799 | 2.2334 | 2.1952 | 2.1237 | 2.0739 | 2.0089 | 1.9681 | 1.9112 | 1.8816 | 1.8354 | 1.8065 | 1.7868
| 40 | 5.4239 | 4.051 | 3.4633 | 3.1261 | 2.9037 | 2.7444 | 2.6238 | 2.5289 | 2.4519 | 2.3882 | 2.2882 | 2.213 | 2.1542 | 2.1068 | 2.0677 | 1.9943 | 1.9429 | 1.8752 | 1.8324 | 1.7722 | 1.7405 | 1.6906 | 1.659 | 1.6372
| 50 | 5.3403 | 3.9749 | 3.3902 | 3.0544 | 2.8327 | 2.6736 | 2.553 | 2.4579 | 2.3808 | 2.3168 | 2.2162 | 2.1404 | 2.081 | 2.033 | 1.9933 | 1.9186 | 1.8659 | 1.7963 | 1.752 | 1.6892 | 1.6558 | 1.6029 | 1.5689 | 1.5454
| 75 | 5.2317 | 3.8764 | 3.2957 | 2.9617 | 2.7408 | 2.582 | 2.4614 | 2.3662 | 2.2888 | 2.2244 | 2.1229 | 2.0462 | 1.9858 | 1.9368 | 1.8962 | 1.8194 | 1.7649 | 1.692 | 1.6452 | 1.5779 | 1.5416 | 1.4828 | 1.4442 | 1.4168
| 100 | 5.1786 | 3.8284 | 3.2496 | 2.9166 | 2.6961 | 2.5374 | 2.4168 | 2.3215 | 2.2439 | 2.1793 | 2.0773 | 2.0001 | 1.9391 | 1.8897 | 1.8486 | 1.7705 | 1.7148 | 1.6401 | 1.5917 | 1.5215 | 1.4833 | 1.4203 | 1.3781 | 1.3475
| 200 | 5.1004 | 3.7578 | 3.182 | 2.8503 | 2.6304 | 2.472 | 2.3513 | 2.2558 | 2.178 | 2.113 | 2.0103 | 1.9322 | 1.8704 | 1.82 | 1.778 | 1.6978 | 1.6403 | 1.5621 | 1.5108 | 1.435 | 1.3927 | 1.3204 | 1.2691 | 1.2293
| 500 | 5.0543 | 3.7162 | 3.1423 | 2.8114 | 2.5919 | 2.4335 | 2.3129 | 2.2172 | 2.1392 | 2.074 | 1.9708 | 1.8921 | 1.8297 | 1.7787 | 1.7362 | 1.6546 | 1.5957 | 1.5151 | 1.4616 | 1.3814 | 1.3356 | 1.2543 | 1.1918 | 1.1369
| ¥ | 5.024 | 3.689 | 3.1163 | 2.7859 | 2.5666 | 2.4084 | 2.2877 | 2.1919 | 2.1138 | 2.0484 | 1.9449 | 1.8658 | 1.803 | 1.7516 | 1.7086 | 1.626 | 1.5661 | 1.4837 | 1.4286 | 1.3447 | 1.2958 | 1.2055 | 1.1281 | 1

## t-Test Table
Tabulated Values for One and Two-Tailed t-Tests
The Excel function TINV returns the two-tailed t-test. The one-tailed t-test is the same as the one-tailed t-test at twice the significance level.
The two-tailed t-values are also called the Student's t distribution.
| Critical Value Calculator |  |  |  |  | Degrees of Freedom Calculator
| Confidence Level |  |  | 95% |  | t-Test
| Degrees of Freedom |  |  |  |  | Degrees of Freedom
| One-Tailed t-Test |  |  |  |  | Confidence Level (one-tailed t)
| Two-Tailed t-Test |  |  |  |  | Confidence Level (two-tailed t)
Table 1. Tabulated values for the one and two-tailed t-tests.
D.F. | One-Tailed t-Test |  |  |  |  | Two-Tailed t-Test
| 68% | 90% | 95% | 98% | 99% | 68% | 90% | 95% | 98% | 99%
1 | 0.63462 | 3.0777 | 6.3138 | 15.8945 | 31.8205 | 1.819 | 6.3138 | 12.7062 | 31.8205 | 63.6567
2 | 0.54571 | 1.8856 | 2.92 | 4.8487 | 6.9646 | 1.3116 | 2.92 | 4.3027 | 6.9646 | 9.9248
3 | 0.51838 | 1.6377 | 2.3534 | 3.4819 | 4.5407 | 1.1889 | 2.3534 | 3.1824 | 4.5407 | 5.8409
4 | 0.50517 | 1.5332 | 2.1318 | 2.9985 | 3.7469 | 1.1344 | 2.1318 | 2.7764 | 3.7469 | 4.6041
5 | 0.49741 | 1.4759 | 2.015 | 2.7565 | 3.3649 | 1.1037 | 2.015 | 2.5706 | 3.3649 | 4.0321
6 | 0.4923 | 1.4398 | 1.9432 | 2.6122 | 3.1427 | 1.084 | 1.9432 | 2.4469 | 3.1427 | 3.7074
7 | 0.48869 | 1.4149 | 1.8946 | 2.5168 | 2.998 | 1.0703 | 1.8946 | 2.3646 | 2.998 | 3.4995
8 | 0.486 | 1.3968 | 1.8595 | 2.449 | 2.8965 | 1.0602 | 1.8595 | 2.306 | 2.8965 | 3.3554
9 | 0.48392 | 1.383 | 1.8331 | 2.3984 | 2.8214 | 1.0525 | 1.8331 | 2.2622 | 2.8214 | 3.2498
10 | 0.48226 | 1.3722 | 1.8125 | 2.3593 | 2.7638 | 1.0464 | 1.8125 | 2.2281 | 2.7638 | 3.1693
12 | 0.47979 | 1.3562 | 1.7823 | 2.3027 | 2.681 | 1.0374 | 1.7823 | 2.1788 | 2.681 | 3.0545
14 | 0.47804 | 1.345 | 1.7613 | 2.2638 | 2.6245 | 1.0311 | 1.7613 | 2.1448 | 2.6245 | 2.9768
16 | 0.47673 | 1.3368 | 1.7459 | 2.2354 | 2.5835 | 1.0263 | 1.7459 | 2.1199 | 2.5835 | 2.9208
18 | 0.47571 | 1.3304 | 1.7341 | 2.2137 | 2.5524 | 1.0227 | 1.7341 | 2.1009 | 2.5524 | 2.8784
20 | 0.4749 | 1.3253 | 1.7247 | 2.1967 | 2.528 | 1.0198 | 1.7247 | 2.086 | 2.528 | 2.8453
25 | 0.47345 | 1.3163 | 1.7081 | 2.1666 | 2.4851 | 1.0146 | 1.7081 | 2.0595 | 2.4851 | 2.7874
30 | 0.47248 | 1.3104 | 1.6973 | 2.147 | 2.4573 | 1.0112 | 1.6973 | 2.0423 | 2.4573 | 2.75
40 | 0.47128 | 1.3031 | 1.6839 | 2.1229 | 2.4233 | 1.007 | 1.6839 | 2.0211 | 2.4233 | 2.7045
50 | 0.47056 | 1.2987 | 1.6759 | 2.1087 | 2.4033 | 1.0044 | 1.6759 | 2.0086 | 2.4033 | 2.6778
75 | 0.4696 | 1.2929 | 1.6654 | 2.0901 | 2.3771 | 1.0011 | 1.6654 | 1.9921 | 2.3771 | 2.643
100 | 0.46913 | 1.2901 | 1.6602 | 2.0809 | 2.3642 | 0.99943 | 1.6602 | 1.984 | 2.3642 | 2.6259
200 | 0.46841 | 1.2858 | 1.6525 | 2.0672 | 2.3451 | 0.99694 | 1.6525 | 1.9719 | 2.3451 | 2.6006
500 | 0.46798 | 1.2832 | 1.6479 | 2.0591 | 2.3338 | 0.99545 | 1.6479 | 1.9647 | 2.3338 | 2.5857
¥ | 0.4677 | 1.2816 | 1.6449 | 2.0538 | 2.3264 | 0.99446 | 1.6449 | 1.96 | 2.3264 | 2.5758

## Q-Test Table
Tabulated Values for the Q-Test
Excel does not have a function to calculate the critical Q values. The formula is brutal.
The Q-test is not valid for samples with less than three entries and should be used with caution when n > 10. Other statistical tests are applicable to large data sets.
Table 1. Tabulated values for the Q-test.
n | 68% | 90% | 95% | 98% | 99%
3 | 0.822 | 0.941 | 0.97 | 0.988 | 0.994
4 | 0.603 | 0.765 | 0.829 | 0.889 | 0.926
5 | 0.488 | 0.642 | 0.71 | 0.78 | 0.821
6 | 0.421 | 0.56 | 0.625 | 0.698 | 0.74
7 | 0.375 | 0.507 | 0.568 | 0.637 | 0.68
8 | 0.343 | 0.468 | 0.526 | 0.59 | 0.634
9 | 0.319 | 0.437 | 0.493 | 0.555 | 0.598
10 | 0.299 | 0.412 | 0.466 | 0.527 | 0.568
12 | 0.271 | 0.375 | 0.425 | 0.48 | 0.518
14 | 0.25 | 0.35 | 0.397 | 0.447 | 0.483
16 | 0.234 | 0.329 | 0.376 | 0.422 | 0.46
18 | 0.223 | 0.314 | 0.358 | 0.408 | 0.438
20 | 0.213 | 0.3 | 0.343 | 0.392 | 0.42

## Units of Measure
Units of Measure and Conversions
Quantity | Base SI Unit | Abbreviation | Often used as
mass | kilogram | kg | g; mg; µg; ng
volume | liter | L | mL; µL
distance | meter | m | cm; mm
time | second | s | s; ms
SI Prefix | Symbol | Value |  | Common Name
|  | Exponential | Full
yotta | Y | 1024 | 1 000 000 000 000 000 000 000 000
zetta | Z | 1021 | 1 000 000 000 000 000 000 000
exa | E | 1018 | 1 000 000 000 000 000 000
peta | P | 1015 | 1 000 000 000 000 000
tera | T | 1012 | 1 000 000 000 000 | trillion
giga | G | 109 | 1 000 000 000 | billion
mega | M | 106 | 1 000 000 | million
kilo | k | 103 | 1 000 | thousand
—— |  | 1 | 1
deci | d | 10-1 | 0.1
centi | c | 10-2 | 0.01 | parts per hundred; %
milli | m | 10-3 | 0.001 | parts per thousand (ppt)
micro | µ | 10-6 | 0.000 001 | parts per million (ppm)
nano | n | 10-9 | 0.000 000 001 | parts per billion (ppb)
pico | p | 10-12 | 0.000 000 000 001 | parts per trillion (ppt; pptr)
femto | f | 10-15 | 0.000 000 000 000 001
atto | a | 10-18 | 0.000 000 000 000 000 001
zepto | z | 10-21 | 0.000 000 000 000 000 000 001
yocto | y | 10-24 | 0.000 000 000 000 000 000 000 001
Because the density of water is approximately 1 g/mL and the majority of analytical chemistry deals with aqueous solutions, the following approximate equivalents are found. They are exact when the density is exactly 1.000 g/mL.
ppm » | mg/L; µg/mL; mg/kg; µg/g
ppb » | µg/L; ng/mL; µg/kg; ng/g
pptr » | ng/L; pg/mL; ng/kg; pg/g